| Work at Height Permit Date Permit to Work No Work Order No |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Description of Work |  |  |  |  |  |  |  |
| Exact Location of Proposed Work |  |  |  |  |  |  |  |
| Checklist |  |  |  |  | YES | NO | N/A |
| Is there a JSEA for this task? |  |  |  |  |  |  |  |
| Has an RTHA been undertaken? |  |  |  |  |  |  |  |
| Weather conditions are suitable (high winds, slippery surfaces, etc)? |  |  |  |  |  |  |  |
| Does the Safety equipment and PPE have current inspection tags and is it in good condition? Fall arrest Fall Prevention Fall Restraint |  |  |  |  |  |  |  |
| Training in correct use of safety equipment and PPE has been conducted? |  |  |  |  |  |  |  |
| Does the anchor point(s) have a current inspection tag and has it been deemed suitable and tested by a competent person? |  |  |  |  |  |  |  |
| Has a rescue plan been established if work is being carried out in fall arrest? |  |  |  |  |  |  |  |
| Is all rescue equipment and are rescue personnel available at the activity site? |  |  |  |  |  |  |  |
| Are personnel medically capable (Fit-4-Work, self assessed) to perform work at height? |  |  |  |  |  |  |  |
| Has an Observer considered and appointed if necessary? |  |  |  |  |  |  |  |
| All required PPE has been issued? |  |  |  |  |  |  |  |
| All access equipment used has current inspection and/ or tags. (scaffolds, EWPs, ladders) |  |  |  |  |  |  |  |
| Have Access/Egress points been identified and any additional risk mitigated? |  |  |  |  |  |  |  |
| Area affected by work at heights signed & barricaded off? |  |  |  |  |  |  |  |
| Does the activity require the removal of grid mesh flooring or handrails? If yes, complete Grid Mesh, flooring and handrails Removal Permit. |  |  |  |  |  |  |  |
| Does the activity require the entry to a Confined Space? If yes, complete a Confined Space Permit. |  |  |  |  |  |  |  |
| I confirm that all controls as above are in place and all workers understand the requirements of this permit. |  |  |  |  |  |  |  |
| 2nd Tier Permit Authority |  | Contact No |  |  |  |  |  |
| Signature |  |  | Date |  |  |  |  |
| Work Completion |  |  |  |  |  |  |  |
| I have inspected the worksite. I am satisfied that the work is complete, all equipment returned and the site safe. |  |  |  |  |  |  |  |
| 2nd Tier Permit Authority |  |  |  |  |  |  |  |
| Signature |  |  |  | Date |  |  |  |

- Types of Working at Heights

- Where work is conducted with a potential to fall 2m; or where there is a difference between levels ≥500mm and the fall could cause injury.

- From a ladder (short duration, simple, 3 points contact not maintained), roof or platform

- Scissor lift, elevated work platform

Note: Use of platform and approved access ladders (with controls) do not require a permit

- Mandatory PPE/tools

- Harness, personal energy absorber, lanyards and karabiners

- Approved anchor points, travel restraint system,

- Approved ladders, scissor lifts, EWPs, scaffold

- Standard PPE including safety eyewear, safety gloves, safety footwear

Note: Other PPE /tools may be required to be used, e.g. safety helmet.

- Prior to starting work

- All fall protection equipment shall comply with relevant standard and is tagged with current inspection dates.

- Single person fall arrest anchor points shall be capable of withstanding 15kN (1500kg)

- Identify whether the work requires a fall arrest system or a fall restraint system

- Fall arrest systems require a full body harness with a shock absorbing lanyard or personal energy absorbing device

- Elevated work platforms conform to relevant approved design standards

- Fall arrest systems shall be worn in all boom type Elevated Work Platforms.

- If a work method requires detach and reattach at height, a dual lanyard system shall be used to ensure one connection point is maintained at all times.

- Ensure working in isolation does not occur

- Tools and objects shall be secured to prevent falling

- Confirm that the JSEA details the emergency response plan if a fall from height occurs, including consideration for rapid retrieval

- Competency of personnel to work at height and operate equipment

- Confirm that personnel are medically capable to perform work at height.  (Specifically checking for epilepsy and vertigo)

- Drop zones have been defined and established

- Recovery plans are understood and equipment is available for immediate use

- Precautions to be taken during work

- Always wear the PPE provided and indicated

- When a fall restraint or fall arrest system is in use, always ensure connection to a lanyard (for personnel and tools)

- If conditions or controls change, STOP, return to ground level and re-assess

- Equipment and access is secure if the area is left unattended

- Completion of Work

- Ensure area is free of debris and all equipment removed